**The LED semiconductor light**

**«Liniya-1-O-1» SSP-A-220-034-O-1-N, T-MCC**

**OPERATING MANUAL**

**TS 3461-006-41677105-10 OM**

The present operating manual (further named OM) is used for operating LED semiconductor light of “Liniya-1-O-1” type (further named the light).

The OM contains construction data, operating rules and working conditions, maintenance recommendations and other data necessary for the right operating of the light.

Only after being instructed, going through safety working methods, checking of safety rules with further certifying a qualification for safety arrangements, one is admitted for electrical installation, inspection and maintenance of the light unit.

**1. Description and Operating**

**1.1 Light Assignment**

1.1.1 The light is designed for interior lighting objects. The light has the case with protective opal glass.

**1.2 Technical data**

1.2.1 Supply voltage range - 140 ÷ 265 VAC (50±10%) Hz or 200 ÷ 370 VDC;

1.2.2 Humidity up to 95% (at the temperature +40°C).

1.2.3 Working temperature from minus 30°C up to plus 60°C.

1.2.4 Color temperature, K: T - (warm luminous color) 3 000 ÷ 4 000, N (normal luminous color) 4 000 ÷ 6 000.

1.2.5 Ripple factor of the light flux is not more than 5%.

1.2.6 Power factor is not less than 0,9.

1.2.7 Climatic category MCC according to IEC 60721-2-1:2013:1982, IEC 60068-1:2013

1.2.8 Electric shock protection class 1 according to IEC 60598-1.

1.2.9 The lighting source – LED semiconductor module.

1.2.10 Ingress protection rating according to IEC 529 is not worse than IP40.

1.2.11 Service life when conforming to operating conditions is not less than 100 000 hours.

1.2.12 Storage from the date of its being manufactured is 3 years.

1.2.13 Fire safety is up to IEC 60598-1, NPB 249-97.

1.2.14 Insulation resistance of live parts is not less than 2 МОm.

1.2.15 Grounding resistance is not more than 0,5 Оm.

1.2.16 The electrical and illuminating light parameters should correspond to the meanings that are pointed in the table 1.

|  |  |  |  |
| --- | --- | --- | --- |
| The light brand | The light type | Light flux\*, not less than, lm | Consumption power, nominal\*\*, W |
| Liniya-1-O-1 | SSP-A-220-034-O-1-N,T-MCC | 3900 | 36 |

\* Light flux is specified for the LED module at the chip temperature of 25 C. To specify the light flux it is necessary to consider IES-file for the light.

\*\* Consumption power value can differ by ±10%.

1.2.17 The light weight, not more than 2.5 kg.

1.2.18 Overall view, alternative constructions and overall sizes of the light are pointed on pic.1



Pic.1

 **1.3 The light complectness:**

1.3.1 The set consists of:

- a light – 1 pce.,

- an operating manual – 1 pce.,

- a passport – 1 pce.,

- a package – 1 pce.

**1.4 Construction and Operation**

1.4.1 The light consists of the housing which is made of the PVC which is the bearing element of the light, protective opal glass, LED semiconductor modules, driver and contact device.

1.4.2 The designation of constitutive parts of the light:

- the housing of the light is the bearing element on which LED semiconductor modules, driver are fixed on the metal base;

- the protective opal glass is fixed in the housing of the light and is designed to create the necessary curve of the luminous intensity.

**Notes:** the light construction is constantly developing, that’s why changes may have place that do not affect its reliability and technical parameters.

**1.5 Marking**

1.5.1 The light marking is made according to requirements of GOST 9980.4.

1.5.2 Marking of light contains:

- the trademark of the manufacturer;

- the name of the company;

- the address of the company-manufacturer;

- the technical conditions logical number;

- the brand and type of the light;

- specified supply voltage in volts;

- max. rated input in watt;

- IP code;

- manufacturing year and month.

1.5.3 The structure of conventional value

SSP-Х-ХХХ-ХХХ-X-X-X-ХХХ

the letter designates a light curve group (A-cosine);

the three-number figure designates the nominal supply voltage;

the three-number figure designates a batch number;

the letter indicating the modification of the light design within the series (O- opal diffusing glass);

the letter designates the design style of the light’s housing (1 – PVC housing);

the letter designates a light emission colour (N – normal, W – warm);

the letters designate a climatic performance according to IEC 60721-2-1:2013:1982, IEC 60068-1:2013

**1.6 Packaging**

1.6.1 The package of the light is made according to GOST 12301.

1.6.2 The lights should be packed into a cargo container that provides their safety and protection against mechanical damages.

1.6.3 Manipulation signs should be marked on the cargo container: “Fragile”, “Keep dry”, “Top”, “Max quantity when stocking” according to ISO 780:2015.

**2 Intended Usage**

**2.1 Embodiment.**

2.1.1 The embodiment of the light provides for building in to the ceiling space of the room.

**2.2. Preparation for Use.**

2.2.1 Installation of a lamp on a wall or a ceiling is made after connection of a lamp to an electric network and external grounding.

2.2.2 To connect the light to the power line it is necessary:

When installed on the surface:

-to remove four decorative plugs at the corners of the light.

-to remove the single-contact pads from the light housing.

-to connect the network wires and the external grounding wire to the single-contact pads (see pic. 2).

-to install single-contact pads to the lamp housing.



Pic.2

-to attach the lamp housing to the mounting surface and secure the housing of the light.

-to install decorative plugs.

When mounting in a suspended ceiling:

-to remove the single-contact pads from the light housing.

-to connect the network wires and the external grounding wire to the single-contact pads (see Pic. 2).

-to install single-contact pads to the light housing.

-to place the lamp in the suspended ceiling.

**Notes:**

The light is equipped with technological wires connected to the network contact device. When the lamp is connected to the mains, the process wires must be disconnected.

**2.3 Safety Methods.**

2.3.1 For providing safety while operating the light it is forbidden:

- to carry out any operation of the light when energizing;

- to assemble and operate the light with a damaged isolation of the wires.

2.3.2 When assembling and operating the light it’s necessary to guide:

- rules on design of power electric installations;

- the present operating manual.

2.3.3 In order to avoid electric shock the light must be grounded.

**3 Storage and transportation**

3.1 The light should be kept packed according to GOST 23216 for the storage conditions 2 (c) IEC 60721-2-1:2013:1982, IEC 60068-1:2013.

3.2. Transportation of the light can be carried out by any transport at any distance.

3.3. When keeping and transporting the light should be protected against any atmospheric fallout.

**4. Recycling data**

4.1 All the materials of which the light is manufactured are not dangerous for the life and health of people and the environment. On completing the operation of the light it should be disposed of in accordance with the present regulations.

**5. Warranty**

5.1 The manufacturer guarantees the conformance of the light to the technical specifications and normal work within 5 years since operating it at condition of observing the rules of transportation, storage and installation.

5.2 Within the warranty period damaged lights should be changed charge free by the manufacture at the conditions of the conformance to the installation and operating rules by the customer.

**6 Reclamation Data**

6.1 The manufacturer should be laid reclamation claims in case of discovering damages that may lead to the breakdown of the light before the warranty expiration.

The manufacturer’s address:

19, Leskova str., Orel, 302040, RUSSIA, JSC “Proton”.

6.2 In reclamation the light brand, damages, conditions at which they are discovered, the whole operation period should be specified.

There should be attached a copy of the payment document for the light.

**7 Acceptance Certificate**

7.1 The light is manufactured and approved in accordance with the present technical specifications TS 3461–006–41677105–10 and approved to be suitable for the operation.

Placeholders QCD stamp

\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

Date